MEMORANDUM FOR SEE DISTRIBUTION

SUBJECT: Unit Battery Maintenance Program Establishment

1. Purpose. This memorandum establishes the Battery Maintenance Program for [UNIT NAME] in accordance with TB 43-0134 and DA Pam 750-1.

2. Authority. TB 43-0134, Battery Disposition and Disposal; DA Pam 750-1, Chapter 10.

3. Effective Date. [DD MONTH YYYY].

4. Program Requirements. The unit will maintain a battery maintenance program that includes:

- Designated Battery Maintenance Area. Location: [BUILDING/AREA]

- Batteries will be tested IAW TB 43-0134 with approved battery testing equipment.

- Battery Storage. Batteries will be stored in approved battery storage containers/racks with proper ventilation.

- Personal Protective Equipment (PPE). The following PPE will be available at all battery maintenance areas:

  - Acid-resistant apron

  - Face shield or safety goggles

  - Acid-resistant gloves

  - Emergency eyewash station within 25 feet

- Spill Response. Battery acid spill kits will be maintained at all battery work areas.

- Charging Operations. Battery charging will only be conducted in designated, ventilated areas.

- Turn-in Procedures. Unserviceable batteries will be turned in IAW local installation procedures.

5. Documentation. Battery test records will be maintained IAW AR 25-400-2.

6. The point of contact for this memorandum is [RANK NAME], [DUTY POSITION], at [PHONE] or [EMAIL].

MILLER, ZEBADNAH E.

COL,EN, TXARNG

Commanding

DISTRIBUTION:

386th EN BN

HHC, 176TH EN